## Slide 1: A Magnet and Refrigerator for a Drell Yan Experiment
Possibly at FermiLab

## Slide 2: Requirements
~5 T magnet with vertical field
Vertical Field (or at least normal to
scattering plane
Therefore split Helmholtz pair
Good (10-4 ) field uniformity over the
target volume
Matching (1 K Refrigerator)

## Slide 4: LANL MAGNET
Is 5 T but with longitudinal field direction
Last used ~15 years ago with a neutron beam
Been in storage since then
Uniform field over a disk 8 cm dia high, 2 cm long
Need to rotate coil package

## Slide 8: Conclusions
Will inspect magnet on Tuesday at LANL (if its storage site can be found and opened)
Test to check if it still works
If so send to Oxford Instruments to get the coil rotated ($50K - $60K)
Refrigerator??